Quality Manual: Table of contents

| Number | Section | Page |
| --- | --- | --- |
| 1 | General | 3 |
| 1.1. | Index and revision status | 3 |
| 1.2. | Purpose | 3 |
| 2 | Background of the laboratory | 3 |
| 2.1. | Activities | 3 |
| 2.2. | History | 3 |
| 3 | Definitions and conventions | 3 |
| 3.1. | Definitions and terminology | 3 |
| 3.2. | Abbreviations | 3 |
| 4 | General requirements | 4 |
| 4.1. | Impartiality | 4 |
| 4.2. | Confidentiality | 4 |
| 5 | Structural requirements | 5 |
| 5.1. | Structural requirements | 5 |
| 6 | Resource requirements | 7 |
| 6.1. | General | 7 |
| 6.2. | Personnel | 7 |
| 6.3. | Laboratory facilities and environmental conditions | 8 |
| 6.4. | Equipment | 9 |
| 6.5. | Metrological traceability | 11 |
| 6.6. | Externally provided products and services | 12 |
| 7 | Process requirements | 12 |
| 7.1. | Review of requests, tenders and contracts | 12 |
| 7.2. | Selection, verification and validation of methods | 13 |
| 7.3. | Sampling | 15 |
| 7.4. | Handling of test or calibration items | 15 |
| 7.5. | Technical records | 16 |
| 7.6. | Evaluation of measurement uncertainty | 16 |
| 7.7. | Assuring the quality of results | 17 |
| 7.8. | Reporting of results | 17 |
| 7.9. | Complaints | 18 |
| 7.10. | Management of nonconforming work | 18 |
| 7.11. | Control of data-information management | 19 |
| 8 | Management requirements | 19 |
| 8.1. | Options | 19 |
| 8.2. | Management system documentation | 19 |
| 8.3. | Control of management system documents | 20 |
| 8.4. | Control of records | 20 |
| 8.5. | Actions to address risks and opportunities | 21 |
| 8.6. | Improvement | 21 |
| 8.7. | Corrective action | 21 |
| 8.8. | Internal audits | 22 |
| 8.9. | Management reviews | 22 |

| REVISION HISTORY |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 0 | Initial release | - | 04/06/17 |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |

| QM 1.0 | GENERAL | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

| QM 1.1 | INDEX AND REVISION STATUS | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

The numbering of this quality manual corresponds directly to the numbering of ISO 17025.

This quality manual is only valid if all pages are at the same issue level as shown in

D 80301, index quality manual.

Updates to this manual will be made by re-issuing the relevant section of this manual and adapting the issue level in the index.

| QM 1.2 | PURPOSE | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

This quality manual documents our management system and demonstrates the laboratory's ability to execute the indicated tests and/or calibrations and to meet regulatory requirements.

This manual establishes compliance with ISO 17025.

| QM 2.0 | LABORATORY BACKGROUND | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

| QM 2.1 | ACTIVITIES | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

Describe the background, activities, personnel and tests of your laboratory.

Our laboratory's tests / calibrations  include:

-- list out the tests / calibrations  provided by your laboratory --

-- Distinguish between the tests which are part of the management system and those tests which are not. --

| QM 2.2 | HISTORY | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

Describe the history of your laboratory.

| QM 3.0 | DEFINITIONS AND CONVENTIONS | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

| QM 3.1 | DEFINITIONS AND TERMINOLOGY | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

The quality manager is responsible for setting up and maintaining a list of definitions and conventions (D 0001 Terminology).

The list is added to the manual.

| QM 3.2 | ABBREVIATIONS | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

The quality manager is responsible for setting up and maintaining a list of abbreviations used in the quality manual.

The list is added to the manual (D 0002 Abbreviations).

| QM 4.0 | GENERAL REQUIREMENTS | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

| QM 4.1 | IMPARTIALITY | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

The laboratory activities are undertaken impartially and structured and managed so as to safeguard impartiality

The laboratory management is committed to impartiality (see D 80101 Quality Policy).

Our laboratory does not allow commercial, financial, political or other pressures to compromise impartiality.

Our laboratory identifies risks to its impartiality on an on-going basis. This includes those risks that arise from its activities, or from its relationships, or from the relationships from its personnel (see procedure P 401 Impartiality).

If a risk to impartiality is identified, the laboratory demonstrates how it eliminates or minimizes such risks (see procedure P 401 Impartiality).

| QM 4.2 | CONFIDENTIALITY | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

Our laboratory ensures the protection of its customer’s confidential information and proprietary rights, including the protecting the electronic storage and transmission of results.

The laboratory is responsible through legally enforceable commitments, for the management of all information obtained or created during the performance of laboratory activities. Our laboratory informs the customer in advance, of the information it intends to place in the public domain (see procedure P 701: Review of contracts). Except for information that the customer makes publicly available, or when agreed between the laboratory and the customer, all other information is considered proprietary information and shall be regarded as confidential.

When the laboratory is required by law or authorized by contractual arrangements to release confidential information, the customer concerned is notified of the information provided (unless prohibited by law).

Information about the customer obtained from sources other than the customer is confidential between the customer and our laboratory. The provider of this information is confidential to the laboratory and is not shared with the customer, unless agreed by the source.

Personnel, including any committee members, contractors, personnel of external bodies, or individuals acting on the laboratory's behalf, keep confidential all information obtained or created during the performance of  laboratory activities, except as required by law.

| QM 5.0 | STRUCTURAL REQUIREMENTS | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

| QM 5.1 | STRUCTURAL REQUIREMENTS | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

5.1. Legal identity

5.1.1	The laboratory is authorized under State statute XYZ (NOTE: enter State statute title, number, and/or article number).

Indicate the legal identity of the laboratory. If the laboratory hasn't its own legal identity because it is  part of a larger company, indicate the legal identity of this larger company.

- 5.2. Organization

5.2.1	The laboratory is part of the State (NOTE: enter State and department of the State that the laboratory is a part of).  Authority, interrelation, and responsibilities of all laboratory personnel are on file in the form of job descriptions (D 60204) and organizational charts (D 60201).  The responsibilities of Quality Manager and Technical Manager are assigned to designated staff as shown in the organizational chart.

- 5.3. Responsibility

NOTE: The following is an example of  laboratory personnel responsibilities.  Indicate the responsibilities of key personnel of the large organization that influence testing activities (QM, Tech M, Support M) too.

- Put general function descriptions in this manual

- Put detailed function descriptions and organization chart with names and replacements in separate documents (

Only for people influencing quality )(D 50204 and D 50201).

5.3.1. Director

The Director is responsible for the overall compliance of the laboratory to

this Quality Manual and is the direct supervisor of the State Metrologist.

5.3.2. Management (Program Manager, however named )

The management of the laboratory:

A.	implements and enforces the applicable good laboratory practices described in reference documents;

B.	provides resources, adjusts workloads, and provides training opportunities for laboratory staff to facilitate completion of assigned tasks in a safe work environment consistent with test requirements and personnel capabilities; and

C.	assigns deputies for both the technical and quality managers in the case of an absence.

5.3.2. Technical Manager

The technical manager :

A.	is a metrologist who has completed the required level of NIST OWM training as specified in accreditation requirements for the level at which the laboratory maintains accreditation;

B.	is responsible for the overall administrative and technical operations of the laboratory;

C.	specifies and/or approves all methodologies used;

D.	implements good laboratory practices by providing instruction and training as needed, develops work plans and procedures, and requires that these be followed in all day-to-day operations;

E.	assigns only competent personnel to complete tests;

F.	attests, by signature, to the validity of all laboratory tests and reports (a list of Approved Signatories is maintained in the laboratory and

G.	ensures continued accreditation of the laboratory.

5.3.4. Quality Manager

The quality manager :

A.	is a metrologist who has completed the required level of NIST OWM training as specified in accreditation requirements for the level at which the laboratory maintains accreditation;

B.	coordinates internal audits of the laboratory in accordance with Section 8.8 of this quality manual;

C.	maintains, analyzes, and updates statistical data and/or control charts;

D.	participates in available and relevant proficiency tests, round-robins, and/or interlaboratory collaborative studies;

E.	where necessary, identifies, develops, and implements improvement of the laboratory measurement capability to meet the requirements of NIST, department programs, and laboratory customers;

F.	maintains the quality manual; and

G.	has direct access to management and to the technical manager.

NOTE:	  Many laboratories are limited in staff.  These laboratories are often operated by one person or a part-time person.  In these cases, the responsibilities of both technical and quality manager fall on that person.  Special care and precaution must be taken and documented to ensure that the management system and measurements are not adversely affected by limited laboratory staff.

5.4.   The top management ensures that appropriate communication processes are

established within the laboratory for implementation of the management system,

and that communication takes place regarding the effectiveness of the

management system.

5.5.   The top management ensures that the integrity of the management system is

maintained when changes to the management system are implemented.

| QM 6.0 | RESOURCE REQUIREMENTS | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

| QM 6.1 | GENERAL | Version 1 | 03/06/2017 |
| --- | --- | --- | --- |

6.1.1. Our laboratory has available the personnel, facilities, equipment, systems and

support services necessary to perform its laboratory activities.

6.1.2. Our laboratory recognizes that many factors determine the correctness and reliability

of the tests and/or calibration performed by a laboratory. These factors include

contributions from: human factors (6.2), accommodation and environmental

conditions (6.3), test and calibration methods and method validation (7.2), equipment

(6.4), measurement traceability (6.5), and handling of test and calibration items (7.4).

6.1.3. The extent to which the factors contribute to the total uncertainty of measurement

differs considerably between (types of) test and between (types of) calibrations. Our

laboratory takes into account these factors in developing test and calibration methods

and procedures, in the training and qualification of personnel, and in the selection and

calibration of the equipment it uses.